## Abbreviations
Abbreviation | Description
HR | High resolution data collected in situ, see metadata for details
DS | Discrete sampling, see metadata for details
SUNA | Satlantic SUNA V1 or V2 nitrate sensor
TLine | Timberline Ammonium Analyzer Model 2800 modified for flowthrough capabilities, see metadata for details
WS | Wetlabs Wetstar Fluorometers; measures dissolved organic matter (fDOM) and chlorophyll (fCHL)
CStar | C Star Instrument; transmittence and beam transmissometer/attenuation at 650 nm
TSG | Seabird Model SB45 Thermosalinograph; measures temperature, conductivity, salinity
EXO | YSI EXO2 Multiprobe Sonde; measures temperature, specific conductance, turbidity, pH, DO, fCHL, fDOM
FP | Fluoroprobe BBE Instrument; measures algal pigments
SA | Spatially aligned data collected in situ, see metadata for details
PE | Phytoplankton enumeration, see metadata for details
LRL | Laboratory reporting level
MDL | Method detection limit

## Dataset_Definitions
Dataset Label | Dataset Description
SRiNC_2019_HR | High resolution, in situ, unfiltered, in vivo fluorescence (IVF), water chemistry data from the Sacramento-San Joaquin Delta Study Area. All measurements were collected in the field in August and September 2019.
SRiNC_2019_SA | Spatially aligned (centerline extracted) and interpolated, water chemistry data from the Sacramento-San Joaquin Delta Study Area collected in August and September 2019.
SRiNC_2019_DS | Discrete sampling, water chemistry data from the Sacramento-San Joaquin Delta Study Area.
SRiNC_2019_PE | Discrete sampling, phytoplankton enumeration data from the Sacramento-San Joaquin Delta Study Area.

## Dataset_Attributes_HR
Parameter | Description | Detection Range | Equation
Timestamp (PST) | Date and time (MM/DD/YYY hh:mm:ss), pacific standard time | --
Latitude (Decimal Degrees, NAD83) | Garmin GPS16X-HVS, NAD 1983, decimal degrees | <15 meter accuracy
Longitude (Decimal Degrees, NAD83) | Garmin GPS16X-HVS, NAD 1983, decimal degrees | <15 meter accuracy
NO3 (uM) (SUNA) HR | Nitrate plus nitrite, micromolar; see data corrections and offsets tab and methods for more information | up to 2000 uM
NH4 (uM) (Tline) HR | Ammonium, micromolar | 0.17 uM - 34482.8 uM
estDIN (uM) HR | Dissolved inorganic nitrogen, micromolar, sum of NH4 (μM) (Tline) HR and NO3 (μM) (SUNA) HR | 0.17 uM - 34482.8 uM
estDOC (mg-C/L) HR | Dissolved organic carbon, milligrams per liter; modeled based on fDOM, see data corrections and offsets tab and methods for more information | --
fDOM (QSU) (WS) HR | Fluorescent dissolved organic matter, quinine sulfate equivalents; corrected for temperature, turbidity, and inner filter effect | up to 400 QSU
fCHL (ug/L) (WS) HR | Fluorescent chlorophyll, micrograms per liter; corrected for temperature | 0.03 - 75 ug/L
Tr (%) (CStar) HR | Transmittance, percent | 0 - 100%
C (1/m) (CStar) HR | Beam transmissometer/attenuation at 650 nm, per meter | --
Temp (deg. C) (TSG) HR | Temperature, degrees Celsius | -5 to 35 degC
Cond (uS/cm) (TSG) HR | Conductivity, microsiemens per centimeter | 0 to 70 mS/cm | Specific Conductance = Conductivity / (1 + 0.02 * (temp(C) - 25))
Salinity (PSU) (TSG) HR | Salinity, practical salinity unit | 2-42 PSU
Temp (deg. C) (EXO) HR | Temperature, degrees Celsius | -5 to 50 degC
Sp Cond (uS/cm) (EXO) HR | Specific conductance, microsiemens per centimeter at 25 degrees Celcius | 0 - 200 mS/cm
pH (EXO) HR | pH, standard units | 0 - 14 units
pH (mV) (EXO) HR | pH, millivolts | -999 - 999 mV
DO (mg/L) (EXO) HR | Dissolved oxygen, milligrams per liter | 0 - 50 mg/L
DO (%sat) (EXO) HR | Dissolved oxygen, percent of saturation | 0 - 500%
Turb (FNU) (EXO) HR | Turbidity, formazin nephelometric units | 0 - 4000 FNU
fDOM (QSU) (EXO) HR | Fluorescence of dissolved organic matter, quinine sulfate units (1 QSU = 1 part per billion quininie sulfate); corrected for turbidity and inner filter effects | 0 to 300 QSU
fCHL (ug/L) (EXO) HR | Fluorescent chlorophyll, micrograms per liter; corrected for temperature | 0 - 400 ug/L
Green Algae (ug/L) (FP) HR | Green algae, micrograms of chlorophyll per liter | 0 - 200 ug chl/L
Bluegreen Algae (ug/L) (FP) HR | Bluegreen algae, micrograms of chlorophyll per liter | 0 - 200 ug chl/L
Diatoms (ug/L) (FP) HR | Diatoms, micrograms of chlorophyll per liter | 0 - 200 ug chl/L
Cryptophyta (ug/L) (FP) HR | Cryptophyceae, micrograms of chlorophyll per liter | 0 - 200 ug chl/L
Yellow Substances (ug/L) (FP) HR | Yellow substances correction, micrograms per liter | --
Total Conc (ug/L) (FP) HR | Total chlorophyll, micrograms of chlorophyll per liter | 0 - 200 ug chl/L
Transmission (%) (FP) HR | Transmission, percent | 0 - 100 %
Temp (deg. C) (FP) HR | Temperature, degrees Celsius | -2 to 40 degC
Green Algae (%) (FP) HR | Green algae contribution to the total conc of chlorophyll, estimated by dividing the micrograms per liter of chlorophyll associated with green algae by the sum of green algae, bluegreen, diatoms, and cryptophyta, percent | --
Bluegreen Algae (%) (FP) HR | Bluegreen algae contribution to the total conc of chlorophyll, estimated by dividing the micrograms per liter of chlorophyll associated with bluegreen algae by the sum of green algae, bluegreen algae, diatoms, and cryptophyta, percent | --
Diatoms (%) (FP) HR | Diatoms/dinoflagellates contribution to the total conc of chlorophyll, estimated by dividing the micrograms per liter of chlorophyll associated with diatoms by the sum of green algae, bluegreen algae, diatoms, and cryptophyta, percent | --
Cryptophyta (%) (FP) HR | Cryptophytes contribution to the total conc of chlorophyll, estimated by dividing the micrograms per liter of chlorophyll associated with cryptophytes by the sum of green algae, bluegreen algae, diatoms, and cryptophyta, percent | --

## Dataset_Attributes_SA
Parameter | Description
CL ID | Centerline point identifier, see metadata for details
Latitude (Decimal Degrees, NAD83) | NAD 1983, decimal degrees
Longitude (Decimal Degrees, NAD83) | NAD 1983, decimal degrees
Location | Name of the approximate location for center line points
Subregions | Name of the approximate subregion for center line points
Time Period (Month, Day, Year) | Sampling time period, month, day, year
NO3 (uM) (SUNA) SA | Nitrate plus nitrite, micromolar
NH4 (uM) (Tline) SA | Ammonium, micromolar
estDOC (mg-C/L) SA | Dissolved organic nitrogen, micromolar; modeled based on fDOM, see metadata for details
estDIN (uM) SA | Total dissolved inorganic nitrogen (DIN) concentration calculated as the sum of nitrate, nitrite and ammonium ([NO3] + [NO2] + [NH4]), micromolar
fDOM (QSU) (WS) SA | Fluorescent dissolved organic matter, quinine sulfate equivalents; corrected for temperature, turbidity, and inner filter effect
fCHL (ug/L) (WS) SA | Fluorescent chlorophyll-a, micrograms per liter; corrected for temperature
Temp (deg. C) (TSG) SA | Temperature, degrees Celsius
Cond (uS/cm) (TSG) SA | Conductivity, microsiemens per centimeter
Salinity (PSU) (TSG) SA | Salinity, practical salinity unit
Temp (deg. C) (EXO) SA | Temperature, degrees Celsius
Sp Cond (uS/cm) (EXO) SA | Specific conductance, microsiemens per centimeter at 25 degrees Celcius
pH (EXO) SA | pH, standard units
DO (mg/L) (EXO) SA | Dissolved oxygen, milligrams per liter
DO (%) (EXO) SA | Dissolved oxygen, percent of saturation
Turb (FNU) (EXO) SA | Turbidity, formazin nephelometric units
fDOM (QSU) (EXO) SA | Fluorescence of dissolved organic matter, quinine sulfate units (1 QSU = 1 part per billion quininie sulfate); corrected for turbidity and inner filter effects
Green Algae (ug/L) (FP) SA | Green algae, micrograms of chlorophyll per liter
Bluegreen (ug/L) (FP) SA | Bluegreen algae, micrograms of chlorophyll per liter
Diatoms (ug/L) (FP) SA | Diatoms, micrograms of chlorophyll per liter
Cryptophyta (ug/L) (FP) SA | Cryptophyceae, micrograms of chlorophyll per liter
Total Conc (ug/L) (FP) SA | Total chlorophyll, micrograms of chlorophyll per liter

## Dataset_Attributes_DS
Parameter | Description | Detection Range | Equation
Timestamp (PST) DS | Date and time (MM/DD/YYYY hh:mm), pacific standard time
Station Abbrev. DS | Informal field identifier associated with numeric station code; FD indicates field duplicate | 8 or 15 digit code
Station ID DS | Numeric USGS station code | --
Chla Rmk DS | Chlorophyll-a, phytoplankton, >0.7 microns remark code reported to USGS NWIS database; see metadata for details
Chla (ug/L) DS | Chlorophyll-a, phytoplankton, >0.7 microns, chromatographic-fluorometric method, micrograms per liter | LRL 0.1 ug/L
Pheophytin Rmk DS | Pheophytin-a, phytoplankton, >0.7 microns remark code reported to USGS NWIS database; see metadata for details
Pheophytin (ug/L) DS | Pheophytin-a, phytoplankton, >0.7 microns, micrograms per liter | LRL 0.1 ug/L
5 micron Chla Rmk DS | Chlorophyll-a, phytoplankton, >5.0 microns remark code reported to USGS NWIS database; see metadata for details
5 micron Chla (ug/L) DS | Chlorophyll-a, phytoplankton, >5.0 microns, chromatographic-fluorometric method, micrograms per liter | LRL 0.1 ug/L
5 micron Pheophytin Rmk DS | Pheophytin-a, phytoplankton, >5.0 microns remark code reported to USGS NWIS database; see metadata for details
5 micron Pheophytin (ug/L) DS | Pheophytin-a, phytoplankton, >5.0 microns, micrograms per liter | LRL 0.1 ug/L
NO2 Rmk DS | Nitrite remark code reported to USGS NWIS database; see metadata for details | --
NO2 (mg-N/L) DS lab reported | Nitrite, filtered, miligrams nitrogen per liter as reported to USGS NWIS database | LRL 0.001 mg/L
NO2 + NO3 Rmk DS | NO2 + NO3 remark code reported to USGS NWIS database; see metadata for details | --
NO2 + NO3 (mg-N/L) DS lab reported | Nitrite plus nitrate, filtered, miligrams nitrogen per liter as reported to USGS NWIS database | LRL 0.04 mg/L
PO4 Rmk DS | PO4 remark code reported to USGS NWIS database; see metadata for details | --
PO4 (mg-P/L) DS lab reported | Orthophosphate, filtered, miligrams phosphorus per liter as reported to USGS NWIS database | LRL 0.004 mg/L
TDN Rmk DS | TDN remark code reported to USGS NWIS database; see metadata for details | --
TDN (mg-N/L) DS lab reported | Total dissolved nitrogen [nitrate + nitrite + ammonium + organic-N], filtered, miligrams nitrogen per liter as reported to USGS NWIS database | LRL 0.05 mg/L
NH4 Rmk DS | Ammonium remark code reported to USGS NWIS database; see metadata for details | --
NH4 (mg-N/L) DS lab reported | Ammonium, filtered, miligrams nitrogen per liter as reported to USGS NWIS database | LRL 0.01 mg/L
NH4 (uM) DS | Ammonium, filtered, micromolar, converted from lab reported ammonoium mg-N/L value; MDL replaced with half the MDL; see metadata for details | --
NO2 (uM) DS | Nitrite, filtered, micromolar, converted from lab reported nitrite mg-N/L value; MDL replaced with half the MDL; see metadata for details | --
NO2 + NO3 (uM) DS | Nitrite plus nitrate, filtered, micromolar, converted from nitrite plus nitrate mg-N/L lab reported value; MDL replaced with half the MDL; see metadata for details | --
PO4 (uM) DS | Orthophosphate, filtered, micromolar, converted from orthophosphate mg-P/L lab reported value; MDL replaced with half the MDL; see metadata for details | --
TDN (uM) DS | Total dissolved nitrogen [nitrate + nitrite + ammonium + organic-N], filtered, micromolar, converted from TDN mg-N/L lab reported value; MDL replaced with half the MDL; see metadata | --
estDIN (uM) DS | Dissolved inorganic nitrogen, calculated as the sum of nitrate plus nitrite and ammonium ([NO2] + [NO3] + [NH4]), filtered, micromolar | --
estDON (uM) DS | Dissolved organic nitrogen, calculated as Total dissolved nitrogen minus Disolved inorganic nitrogen ([TDN) - (DIN)], filtered, micromolar | --
DOC Rmk DS | Dissolved organic carbon remark code reported to USGS NWIS database; see metadata for details
DOC (mg-C/L) DS | Dissolved organic carbon, miligrams per liter | LRL 0.3 mg/L
Peak fDOM Rmk DS | Fluorescence at excitation 370 nm / emission at 460 nm remark code reported to USGS NWIS database; see metadata for details
Peak fDOM (RU) DS | Fluorescence at excitation 370 nm / emission at 460 nm, filtered, Raman units | MDL 0.007 RU
UV Slope Ratio Rmk DS | Spectral slope S275–295 remark code reported to USGS NWIS database; see metadata for details
UV Slope Ratio | Spectral slope S275–295 divided by spectral slope S350–400 | --
A254 Rmk DS | Absorbance, 254 nm remark code reported to USGS NWIS database; see metadata for details
A254 (AU/cm) DS | Absorbance at 254 nm, filtered, absorbance units per centimeter | MDL 0.010 AU/cm
A280 Rmk DS | Absorbance at 280 nm remark code reported to USGS NWIS database; see metadata for details
A280 (AU/cm) DS | Absorbance at 280 nm, filtered, absorbance units per centimeter | MDL 0.009 AU/cm
A350 Rmk DS | Absorbance at 350 nm remark code reported to USGS NWIS database; see metadata for details
A350 (AU/cm) DS | Absorbance at 350 nm, filtered, absorbance units per centimeter | MDL 0.010 AU/cm
A370 Rmk DS | Absorbance at 370 nm remark code reported to USGS NWIS database; see metadata for details
A370 (AU/cm) DS | Absorbance at 370 nm, filtered, absorbance units per centimeter | MDL 0.010 AU/cm
A412 Rmk DS | Absorbance at 412 nm remark code reported to USGS NWIS database; see metadata for details
A412 (AU/cm) DS | Absorbance at 412 nm, filtered, absorbance units per centimeter | MDL 0.010 AU/cm
A440 Rmk DS | Absorbance at 440 nm remark code reported to USGS NWIS database; see metadata for details
A440 (AU/cm) DS | Absorbance at 440 nm, filtered, absorbance units per centimeter | MDL 0.004 AU/cm
A488 Rmk DS | Absorbance at 488 nm remark code reported to USGS NWIS database; see metadata for details
A488 (AU/cm) DS | Absorbance at 488 nm, filtered, absorbance units per centimeter | MDL 0.005 AU/cm
A510 Rmk DS | Absorbance at 510 nm remark code reported to USGS NWIS database; see metadata for details
A510 (AU/cm) DS | Absorbance at 510 nm, filtered, absorbance units per centimeter | MDL 0.005 AU/cm
A532 Rmk DS | Absorbance at 532 nm remark code reported to USGS NWIS database; see metadata for details
A532 (AU/cm) DS | Absorbance at 532 nm, filtered, absorbance units per centimeter | MDL 0.004 AU/cm
A555 Rmk DS | Absorbance at 555 nm remark code reported to USGS NWIS database; see metadata for details
A555 (AU/cm) DS | Absorbance at 555 nm, filtered, absorbance units per centimeter | MDL 0.004 AU/cm
A650 Rmk DS | Absorbance at 650 nm remark code reported to USGS NWIS database; see metadata for details
A650 (AU/cm) DS | Absorbance at 650 nm, filtered, absorbance units per centimeter
A676 Rmk DS | Absorbance at 676 nm remark code reported to USGS NWIS database; see metadata for details
A676 (AU/cm) DS | Absorbance at 676 nm, filtered, absorbance units per centimeter
A715 Rmk DS | Absorbance at 715 nm remark code reported to USGS NWIS database; see metadata for details
A715 (AU/cm) DS | Absorbance at 715 nm, filtered, absorbance units per centimeter
Sag 275-295 nm Rmk DS | Absorption spectral slope calculated for wavelengths 275-295 nm remark code reported to USGS NWIS database; see metadata for details
Sag 275-295 nm DS | Absorption spectral slope calculated for wavelengths 275-295 nm, unitless | MDL varies by wavelength
Sag 290-350 nm Rmk DS | Absorption spectral slope calculated for wavelengths 290-350 nm remark code reported to USGS NWIS database; see metadata for details
Sag 290-350 nm DS | Absorption spectral slope calculated for wavelengths 290-350 nm, unitless | MDL varies by wavelength
Sag 350-400 nm Rmk DS | Absorption spectral slope calculated for wavelengths 350-400 nm remark code reported to USGS NWIS database; see metadata for details
Sag 350-400 nm DS | Absorption spectral slope calculated for wavelengths 350-400 nm, unitless | MDL varies by wavelength
Sag 412-676 nm Rmk DS | Absorption spectral slope calculated for wavelengths 412-676 nm remark code reported to USGS NWIS database; see metadata for details
Sag 412-676 nm DS | Absorption spectral slope calculated for wavelengths 412-676 nm, unitless | MDL varies by wavelength
Peak A Rmk DS | Fluorescence at excitation 260 nm / emission at 450 nm remark code reported to USGS NWIS database; see metadata for details
Peak A (RU) DS | Fluorescence at excitation 260 nm / emission at 450 nm, filtered, Raman units | MDL 0.030 RU
Peak B Rmk DS | Fluorescence at excitation 275 nm / emission at 304 nm remark code reported to USGS NWIS database; see metadata for details
Peak B (RU) DS | Fluorescence at excitation 275 nm / emission at 304 nm, filtered, Raman units | MDL 0.048 RU
Peak C Rmk DS | Fluorescence at excitation 340 nm / emission at 440 nm remark code reported to USGS NWIS database; see metadata for details
Peak C (RU) DS | Fluorescence at excitation 340 nm / emission at 440 nm, filtered, Raman units | MDL 0.006 RU
Peak D Rmk DS | Fluorescence at excitation 390 nm / emission at 510 nm remark code reported to USGS NWIS database; see metadata for details
Peak D (RU) DS | Fluorescence at excitation 390 nm / emission at 510 nm, filtered, Raman units | MDL 0.007 RU
Peak M Rmk DS | Fluorescence at excitation 300 nm / emission at 390 nm remark code reported to USGS NWIS database; see metadata for details
Peak M (RU) DS | Fluorescence at excitation 300 nm / emission at 390 nm, filtered, Raman units | MDL 0.032 RU
Peak N Rmk DS | Fluorescence at excitation 280 nm / emission at 370 nm remark code reported to USGS NWIS database; see metadata for details
Peak N (RU) DS | Fluorescence at excitation 280 nm / emission at 370 nm, filtered, Raman units | MDL 0.107 RU
Peak T Rmk DS | Fluorescence at excitation 275 nm / emission at 340 nm remark code reported to USGS NWIS database; see metadata for details
Peak T (RU) DS | Fluorescence at excitation 275 nm / emission at 340 nm, filtered, Raman units | MDL 0.079 RU
FI Rmk DS | Fluorescence Index remark code reported to USGS NWIS database; see metadata for details
FI DS | Fluorescence Index, ratio of emission intensities at 470 nm to 520 nm at an excitation wavelength of 370 nm | MDL varies by wavelength
HIX Rmk DS | Humification Index remark code reported to USGS NWIS database; see metadata for details
HIX DS | Humification Index, calculated by dividing the fluorescence intensity in the 435-480 nm region by the total intensities in the 300-345 and 435-480 nm regions, unitless | MDL varies by wavelength
Picocyanobacteria aliquot (mL) DS | Volume of sample used for picocyanobacteria counts | --
Picocyanobacteria PC-Rich Tally DS | Picocyanobacteria counts, phycocyanin rich tally, number of cells counted | --
Picocyanobacteria PC-Rich Density (cells/L) DS | Picocyanobacteria counts, phycocyanin rich, cells per liter | --
Picocyanobacteria PE-Rich Tally DS | Picocyanobacteria counts, phycoerythrin rich tally, number of cells counted | minimum of 5 random microscopic fields of view examined
Picocyanobacteria PE-Rich Density (cells/L) DS | Picocyanobacteria counts, phycoerythrin rich, cells per liter | --
Picocyanobacteria Total Tally DS | Picocyanobacteria counts, sum of PE-Rich and PE-Rich tally, number of cells counted | minimum of 5 random microscopic fields of view examined
Picocyanobacteria Total Density (cells/L) DS | Picocyanobacteria counts, sum of PE-Rich and PE-Rich, cells per liter | --

## Dataset_Attributes_PE
Parameter | Description
Timestamp (PST) DS | Date and time (MM/DD/YYYY hh:mm), pacific standard time
Station Abbrev. DS | Informal field identifier associated with numeric station code
NWIS Station Latitude (Decimal Degrees, NAD83) | NAD 1983, decimal degrees
NWIS Station Longitude (Decimal Degrees, NAD83) | NAD 1983, decimal degrees
Division DS | Phytoplankton taxonomy division name
Genus DS | Phytoplankton taxonomy genus name
Species DS | Phytoplankton taxonomy species name
Tally DS | The numbers of cells counted in a sample
Density (cells/L) DS | Number of phytoplankton cells per milliliter of water
Biovolume (um3/L) DS | Cell biovolume calculated as the product of cell volume and density
Notes DS | Notes produced by phytoplankton taxonimist

## Remark_Codes
Remark Code | Remark Name
< | Less than
> | Greater than
A | Average
E | Estimated
M | Presence verified but not quantified
N | Presumptive evidence of presence
R | Radchem non-detect, below ssLc
S | Most probable value
U | Analyzed for but not detected
V | Value affected by contamination

## Data_Corrections_and_Offsets
Correction Type | Correction Equation | Attribute | Reference
fDOM_raw with blank substraction and convert to QSE | fDOM (QSE ppb) = scale factor * (fDOM_raw-blank) | fDOM (QSU) (EXO) fDOM (QSU) (WS) | WETStar FDOM manual
fDOM Temperature correction: T_corr (deg_C) | fDOM_T_corr = fDOM_raw/(1 - 0.01 * (T_measured - 25)) | fDOM (QSU) (EXO) fDOM (QSU) (WS) | Watras, C.J., Hanson, P.C., Stacy, T.L., Morrison, K.M., Mather, J., Hu, Y.H. and Milewski, P., 2011. A temperature compensation method for CDOM fluorescence sensors in freshwater. Limnology and Oceanography: Methods, 9(7), pp.296-301.; Downing, B.D., Pellerin, B.A., Bergamaschi, B.A., Saraceno, J.F. and Kraus, T.E., 2012. Seeing the light: The effects of particles, dissolved materials, and temperature on in situ measurements of DOM fluorescence in rivers and streams. Limnology and Oceanography: Methods, 10(10), pp.767-775.
fDOM Turbidity correction | fDOM_Turb_corr = fDOM_T_corr/EXP(-0.002 * FNU) | fDOM (QSU) (EXO) fDOM (QSU) (WS) | WETStar fDOM manual
fDOM Turbidity correction | fDOM_Turb_corr = fDOM_T_corr/EXP(-0.003 * FNU) | fDOM (QSU) (EXO) fDOM (QSU) (WS) | YSI, personal communication; Saraceno, J.F., Shanley, J.B., Downing, B.D. and Pellerin, B.A., 2017. Clearing the waters: Evaluating the need for site-specific field fluorescence corrections based on turbidity measurements. Limnology and Oceanography: Methods, 15(4), pp.408-416.; Downing, B.D., Pellerin, B.A., Bergamaschi, B.A., Saraceno, J.F. and Kraus, T.E., 2012. Seeing the light: The effects of particles, dissolved materials, and temperature on in situ measurements of DOM fluorescence in rivers and streams. Limnology and Oceanography: Methods, 10(10), pp.767-775.
Inner Filter Effects (IFE) correction | fDOM_IFE_corr = fDOM T@Turb_corr/EXP((-0.308 * (0.0000003 * fDOM_Turb_corr^2 - 0.0002 * fDOM_Turb_corr + 0.1451)) | fDOM (QSU) (EXO) fDOM (QSU) (WS) | Downing, B.D., Pellerin, B.A., Bergamaschi, B.A., Saraceno, J.F. and Kraus, T.E., 2012. Seeing the light: The effects of particles, dissolved materials, and temperature on in situ measurements of DOM fluorescence in rivers and streams. Limnology and Oceanography: Methods, 10(10), pp.767-775.
fCHLA Temperature correction | fCHLA_T_corr = fCHLA_raw/(1 - 0.01 * (T_measured - 25)) | fCHL (μg/L) (EXO) fCHL (μg/L) (WS) | Watras, C.J., Morrison, K.A., Rubsam, J.L., Hanson, P.C., Watras, A.J., LaLiberte, G.D. and Milewski, P., 2017. A temperature compensation method for chlorophyll and phycocyanin fluorescence sensors in freshwater. Limnology and Oceanography: Methods, 15(7), pp.642-652.
Beam Transmissometer (WETLabs C-Star serial #1158 with 10 cm pathlength) | Tr = (Vsig - Vdark)/(Vref - Vdark), c = -1/pathlength * ln (Tr) | C (1/m) (CStar) | WETLabs calibration document for serial #1158
NO3 (µM) (SUNA) regression | y = 0.93x - 3.02 (8/28/2019) (R2 = 0.99) | NO3 (µM) (SUNA) | Bergamaschi, B.A., Kraus, T.E., Downing, B.D., Stumpner, E.B., O'Donnell, K., Hansen, J.A., Soto Perez, J., Hansen, A.M., Gelber, A.D., in press. Assessing spatial variability of nutrients and related water quality constituents in the California Sacramento-San Joaquin Delta at the landscape scale: 2018 High resolution mapping surveys. U.S. Geological Survey Scientific Investigations Report.
y = 0.90x - 2.97 (9/10/2019) (R2 = 0.92)
y = 1.00x - 3.71 (9/11/2019) (R2 = 0.94)
y = 1.06x - 6.23 (9/12/2019) (R2 = 0.97)
estDOC (mg/L) | y = 0.025x + 1.25 (R2 = 0.81) | fDOM (QSU) (WS) | Snyder L, Potter JD, McDowell WH. An evaluation of nitrate, fDOM, and turbidity sensors in New Hampshire streams. Water Resources Research. 2018 Mar;54(3):2466-79.