## Abbreviations
Abbreviation | Description
HR | High resolution data collected in situ, see metadata for details
DS | Discrete sampling, see metadata for details
SUNA | Sea-Bird SUNA V1 or V2 nitrate sensor
TLine | Timberline Ammonium Analyzer Model 2800 modified for flowthrough capabilities, see metadata for details
WS | Wetlabs Wetstar Fluorometers; measures dissolved organic matter (fDOM) and chlorophyll (fCHL)
CStar | C Star Instrument; transmittance and beam transmissometer/attenuation at 650 nm
TSG | Seabird Model SB45 Thermosalinograph; measures temperature, conductivity, salinity
EXO | YSI EXO2 Multiprobe Sonde; measures temperature, specific conductance, turbidity, pH, DO, fCHL, fDOM
FP | Fluoroprobe BBE Instrument; measures algal pigments
SA | Spatially aligned data collected in situ, see metadata for details
PE | Phytoplankton enumeration, see metadata for details
PC-Rich | Phycocyanin-rich
PE-Rich | Phycoerythrin-rich

## Dataset_Definitions
Dataset Label | Dataset Description
DeltaMapping_May2022_HR | High resolution, in situ, unfiltered, in vivo fluorescence (IVF), water chemistry data from the Sacramento-San Joaquin Delta Study Area. All measurements were collected in the field in May 2022.
DeltaMapping_July2022_HR | High resolution, in situ, unfiltered, in vivo fluorescence (IVF), water chemistry data from the Sacramento-San Joaquin Delta Study Area. All measurements were collected in the field in July 2022.
DeltaMapping_October2022_HR | High resolution, in situ, unfiltered, in vivo fluorescence (IVF), water chemistry data from the Sacramento-San Joaquin Delta Study Area. All measurements were collected in the field in October 2022.
DeltaMapping_May2022_SA | Spatially aligned (centerline extracted) and interpolated, water chemistry data from the Sacramento-San Joaquin Delta Study Area collected in May 2022.
DeltaMapping_July2022_SA | Spatially aligned (centerline extracted) and interpolated, water chemistry data from the Sacramento-San Joaquin Delta Study Area collected in July 2022.
DeltaMapping_October2022_SA | Spatially aligned (centerline extracted) and interpolated, water chemistry data from the Sacramento-San Joaquin Delta Study Area collected in October 2022.
DeltaMapping_2022_DS | Discrete sampling, water chemistry data from the Sacramento-San Joaquin Delta Study Area.
DeltaMapping_2022_PE | Discrete sampling, picophytoplankton enumeration data from the Sacramento-San Joaquin Delta Study Area.
DeltaMapping_May2022_MapsShp | Interpolated, water quality contour maps from the Sacramento-San Joaquin Delta Study Area collected in May 2022.
DeltaMapping_July2022_MapsShp | Interpolated, water quality contour maps from the Sacramento-San Joaquin Delta Study Area collected in July 2022.
DeltaMapping_October2022_MapsShp | Interpolated, water quality contour maps from the Sacramento-San Joaquin Delta Study Area collected in October 2022.

## Dataset_Attributes_HR
Parameter | Description | Equation
Timestamp (PST) | Date and time (MM/DD/YYY hh:mm:ss), pacific standard time
Poly_ID_01 | 0.1 mile polygon extent identifier, see metadata for details
Latitude (Decimal Degrees, NAD83) | Garmin GPS16X-HVS, NAD 1983, decimal degrees
Longitude (Decimal Degrees, NAD83) | Garmin GPS16X-HVS, NAD 1983, decimal degrees
Region | Name of the approximate region for center line points
Location | Name of the approximate location for center line points
NO3 (uM) (SUNA) HR | Nitrate plus nitrite, micromolar; see data corrections and offsets tab and methods for more information
NO3 (uM) (SUNA) HR Rmk | NO2 + NO3 remark code reported to USGS NWIS database; see metadata for details
NH4 (uM) (Tline) HR | Ammonium, micromolar
NH4 (uM) (Tline) HR Rmk | Ammonium remark code reported to USGS NWIS database; see metadata for details
Water Temp (deg. C) (EXO) HR | Water temperature, degrees Celsius
Sp Cond (uS/cm) (EXO) HR | Specific conductance, microsiemens per centimeter at 25 degrees Celsius
Salinity (PSU) (EXO) HR | Salinity, practical salinity units
pH (EXO) HR | pH, standard units
pH (mV) (EXO) HR | pH, millivolts
DO (mg/L) (EXO) HR | Dissolved oxygen, milligrams per liter
DO (%sat) (EXO) HR | Dissolved oxygen, percent of saturation
Turb (FNU) (EXO) HR | Turbidity, formazin nephelometric units
fCHL (ug/L) (EXO) HR | Fluorescent chlorophyll, micrograms per liter; corrected for temperature
fDOM (QSU) (EXO) HR | Fluorescence of dissolved organic matter, quinine sulfate units (1 QSU = 1 part per billion quinine sulfate); corrected for turbidity and inner filter effects
fCHL (ug/L) (WS) HR | Fluorescent chlorophyll, micrograms per liter; corrected for temperature
fDOM (QSU) (WS) HR | Fluorescent dissolved organic matter, quinine sulfate equivalents; corrected for temperature, turbidity, and inner filter effect
Water Temp (deg. C) (TSG) HR | Water temperature, degrees Celsius
Cond (uS/cm) (TSG) HR | Conductivity, microsiemens per centimeter | Specific Conductance = Conductivity / (1 + 0.02 * (temp(C) - 25))
Salinity (PSU) (TSG) HR | Salinity, practical salinity units
Tr (%) (CStar) HR | Transmittance, percent
C (1/m) (CStar) HR | Beam transmissometer/attenuation at 650 nm, per meter
Green Algae (ug/L) (FP) HR | Green algae, micrograms of chlorophyll per liter
Bluegreen Algae (ug/L) (FP) HR | Bluegreen algae, micrograms of chlorophyll per liter
Diatoms (ug/L) (FP) HR | Diatoms, micrograms of chlorophyll per liter
Cryptophyta (ug/L) (FP) HR | Cryptophyceae, micrograms of chlorophyll per liter
Total Conc (ug/L) (FP) HR | Total chlorophyll, micrograms of chlorophyll per liter
Transmission (%) (FP) HR | Transmission, percent
Water Temp (deg. C) (FP) HR | Water temperature, degrees Celsius
Green Algae (%) (FP) HR | Green algae contribution to the total conc of chlorophyll, estimated by dividing the micrograms per liter of chlorophyll associated with green algae by the total chlorophyll concentration, percent
Bluegreen Algae (%) (FP) HR | Bluegreen algae contribution to the total conc of chlorophyll, estimated by dividing the micrograms per liter of chlorophyll associated with bluegreen algae by the total chlorophyll concentration, percent
Diatoms (%) (FP) HR | Diatoms/dinoflagellates contribution to the total conc of chlorophyll, estimated by dividing the micrograms per liter of chlorophyll associated with diatoms by the total chlorophyll concentration, percent
Cryptophyta (%) (FP) HR | Cryptophytes contribution to the total conc of chlorophyll, estimated by dividing the micrograms per liter of chlorophyll associated with cryptophytes by the total chlorophyll concentration, percent
estDIN (uM) HR | Dissolved inorganic nitrogen, micromolar, sum of NH4 (uM) (Tline) HR and NO3 (uM) (SUNA) HR
estDOC (mg-C/L) HR | Dissolved organic carbon, milligrams per liter; modeled based on fDOM, see data corrections and offsets tab and methods for more information
estDON (uM) HR | Dissolved organic nitrogen, micromolar; modeled based on fDOM, see metadata for details
estTDN (uM) HR | Total dissolved nitrogen, micromolar; modeled, see metadata for details
H2O Delta 18O (per mil) (Picarro) HR | Ratio of oxygen isotopes in water, per mil; cavity ring down spectrometer; corrected to discrete data, see data corrections and offsets tab and methods for more information
H2O Delta 2H (per mil) (Picarro) HR | Ratio of hydrogen isotopes in water, per mil; cavity ring down spectrometer; corrected to discrete data, see data corrections and offsets tab and methods for more information

## Dataset_Attributes_SA
Parameter | Description
CL ID | Centerline point identifier, see metadata for details
Latitude (Decimal Degrees, NAD83) | NAD 1983, decimal degrees
Longitude (Decimal Degrees, NAD83) | NAD 1983, decimal degrees
Region | Name of the approximate region for center line points
Location | Name of the approximate location for center line points
Time Period (Month, Year) | Sampling time period, month, year
NO3 (uM) (SUNA) SA | Nitrate plus nitrite, micromolar
NH4 (uM) (Tline) SA | Ammonium, micromolar
Water Temp (deg. C) (EXO) SA | Water temperature, degrees Celsius
Sp Cond (uS/cm) (EXO) SA | Specific conductance, microsiemens per centimeter at 25 degrees Celsius
pH (EXO) SA | pH, standard units
DO (mg/L) (EXO) SA | Dissolved oxygen, milligrams per liter
DO (%sat) (EXO) SA | Dissolved oxygen, percent of saturation
Turb (FNU) (EXO) SA | Turbidity, formazin nephelometric units
fCHL (ug/L) (EXO) SA | Fluorescent chlorophyll-a, micrograms per liter; corrected for temperature
fDOM (QSU) (EXO) SA | Fluorescence of dissolved organic matter, quinine sulfate units (1 QSU = 1 part per billion quinine sulfate); corrected for turbidity and inner filter effects
fCHL (ug/L) (WS) SA | Fluorescent chlorophyll-a, micrograms per liter; corrected for temperature
fDOM (QSU) (WS) SA | Fluorescent dissolved organic matter, quinine sulfate equivalents; corrected for temperature, turbidity, and inner filter effect
Water Temp (deg. C) (TSG) SA | Water temperature, degrees Celsius
Cond (uS/cm) (TSG) SA | Conductivity, microsiemens per centimeter
Salinity (PSU) (TSG) SA | Salinity, practical salinity unit
Green Algae (ug/L) (FP) SA | Green algae, micrograms of chlorophyll per liter
Bluegreen (ug/L) (FP) SA | Bluegreen algae, micrograms of chlorophyll per liter
Diatoms (ug/L) (FP) SA | Diatoms, micrograms of chlorophyll per liter
Cryptophyta (ug/L) (FP) SA | Cryptophyceae, micrograms of chlorophyll per liter
Total Conc (ug/L) (FP) SA | Total chlorophyll, micrograms of chlorophyll per liter
Green Algae (%) (FP) SA | Green algae contribution to the total conc of chlorophyll, estimated by dividing the micrograms per liter of chlorophyll associated with green algae by the total chlorophyll concentration, percent
Bluegreen (%) (FP) SA | Bluegreen algae contribution to the total conc of chlorophyll, estimated by dividing the micrograms per liter of chlorophyll associated with bluegreen algae by the total chlorophyll concentration, percent
Diatoms (%) (FP) SA | Diatoms/dinoflagellates contribution to the total conc of chlorophyll, estimated by dividing the micrograms per liter of chlorophyll associated with diatoms by the total chlorophyll concentration, percent
Cryptophyta (%) (FP) SA | Cryptophytes contribution to the total conc of chlorophyll, estimated by dividing the micrograms per liter of chlorophyll associated with cryptophytes by the total chlorophyll concentration, percent
H2O Delta 18O (per mil) (Picarro) SA | Ratio of oxygen isotopes in water, per mil; cavity ring down spectrometer; corrected to discrete data, see data corrections and offsets tab and methods for more information
H2O Delta 2H (per mil) (Picarro) SA | Ratio of hydrogen isotopes in water, per mil; cavity ring down spectrometer; corrected to discrete data, see data corrections and offsets tab and methods for more information
estDIN (uM) SA | Total dissolved inorganic nitrogen (DIN) concentration calculated as the sum of nitrate, nitrite and ammonium ([NO3] + [NO2] + [NH4]), micromolar
estDOC (mg-C/L) SA | Dissolved organic carbon, milligrams per liter; modeled based on fDOM, see metadata for details
estDON (uM) SA | Dissolved organic nitrogen, micromolar; modeled based on fDOM, see metadata for details
estTDN (uM) SA | Total dissolved nitrogen, micromolar; modeled, see metadata for details
NH4 (uM) (DS) SA | Ammonium, micromolar; interpolated from discrete data, see metadata for details
Orthophosphate (uM) (DS) SA | Orthophosphate, micromolar; interpolated from discrete data, see metadata for details

## Dataset_Attributes_DS
Parameter | Description | Equation
Timestamp (PST) DS | Date and time (MM/DD/YYYY hh:mm), pacific standard time
Station Abbrev. DS | Informal field identifier associated with numeric station code; FD indicates field duplicate
Station ID DS | Numeric USGS station code
Chla (ug/L) DS | Chlorophyll a, phytoplankton, >0.7 microns, chromatographic-fluorometric method, micrograms per liter
Chla Rmk DS | Chlorophyll a, phytoplankton, >0.7 microns remark code reported to USGS NWIS database; see metadata for details
Pheophytin (ug/L) DS | Pheophytin a, phytoplankton, >0.7 microns, micrograms per liter
Pheophytin Rmk DS | Pheophytin a, phytoplankton, >0.7 microns remark code reported to USGS NWIS database; see metadata for details
5 micron Chla (ug/L) DS | Chlorophyll a, phytoplankton, >5.0 microns, chromatographic-fluorometric method, micrograms per liter
5 micron Chla Rmk DS | Chlorophyll a, phytoplankton, >5.0 microns remark code reported to USGS NWIS database; see metadata for details
5 micron Pheophytin (ug/L) DS | Pheophytin a, phytoplankton, >5.0 microns, micrograms per liter
5 micron Pheophytin Rmk DS | Pheophytin a, phytoplankton, >5.0 microns remark code reported to USGS NWIS database; see metadata for details
NH4 (mg-N/L) DS lab reported | Ammonium, filtered, milligrams nitrogen per liter as reported to USGS NWIS database
NH4 Rmk DS | Ammonium remark code reported to USGS NWIS database; see metadata for details
NO2 (mg-N/L) DS lab reported | Nitrite, filtered, milligrams nitrogen per liter as reported to USGS NWIS database
NO2 Rmk DS | Nitrite remark code reported to USGS NWIS database; see metadata for details
NO2 + NO3 (mg-N/L) DS lab reported | Nitrite plus nitrate, filtered, milligrams nitrogen per liter as reported to USGS NWIS database
NO2 + NO3 Rmk DS | NO2 + NO3 remark code reported to USGS NWIS database; see metadata for details
PO4 (mg-P/L) DS lab reported | Orthophosphate, filtered, milligrams phosphorus per liter as reported to USGS NWIS database
PO4 Rmk DS | PO4 remark code reported to USGS NWIS database; see metadata for details
TDN (mg-N/L) DS lab reported | Total dissolved nitrogen [nitrate + nitrite + ammonium + organic-N], filtered, milligrams nitrogen per liter as reported to USGS NWIS database
TDN Rmk DS | TDN remark code reported to USGS NWIS database; see metadata for details
TDP (mg-P/L) DS lab reported | Phosphorus, water, filtered, milligrams per liter as phosphorus as reported to USGS NWIS database
TDP Rmk DS | Phosphorus, remark code reported to USGS NWIS database; see metadata for details
NH4 (uM) DS | Ammonium, filtered, micromolar, converted from lab reported ammonium mg-N/L value; MDL replaced with half the MDL; see metadata for details
NO2 (uM) DS | Nitrite, filtered, micromolar, converted from lab reported nitrite mg-N/L value; MDL replaced with half the MDL; see metadata for details
NO2 + NO3 (uM) DS | Nitrite plus nitrate, filtered, micromolar, converted from nitrite plus nitrate mg-N/L lab reported value; MDL replaced with half the MDL; see metadata for details
PO4 (uM) DS | Orthophosphate, filtered, micromolar, converted from orthophosphate mg-P/L lab reported value; MDL replaced with half the MDL; see metadata for details
TDN (uM) DS | Total dissolved nitrogen [nitrate + nitrite + ammonium + organic-N], filtered, micromolar, converted from TDN mg-N/L lab reported value; MDL replaced with half the MDL; see metadata
TDP (uM) DS | Phosphorus, water, filtered, micromolar, converted from TDP mg-P/L lab reported value; MDL replaced with half the MDL; see metadata
estDIN (uM) DS | Dissolved inorganic nitrogen, the sum of nitrate plus nitrite and ammonium ([NO2] + [NO3] + [NH4]), filtered, micromolar
estDON (uM) DS | Dissolved organic nitrogen, total dissolved nitrogen minus dissolved inorganic nitrogen ([TDN) - (DIN)], filtered, micromolar
H2O Delta 18O (per mil) DS | delta oxygen-18/oxygen-16, water, unfiltered, per mil
H2O Delta 2H (per mil) DS | delta hydrogen-2/hydrogen-1, water, unfiltered, per mil
DOC (mg-C/L) DS | Dissolved organic carbon, milligrams per liter
DOC Rmk DS | Dissolved organic carbon remark code reported to USGS NWIS database; see metadata for details
Peak fDOM (RU) DS | Fluorescence at excitation 370 nm / emission at 460 nm, filtered, Raman units
Peak fDOM Rmk DS | Fluorescence at excitation 370 nm / emission at 460 nm remark code reported to USGS NWIS database; see metadata for details
UV Slope Ratio DS | Spectral slope S275–295 divided by spectral slope S350–400
UV Slope Ratio Rmk DS | Spectral slope S275–295 remark code reported to USGS NWIS database; see metadata for details
A254 (AU/cm) DS | Absorbance at 254 nm, filtered, absorbance units per centimeter
A254 Rmk DS | Absorbance, 254 nm remark code reported to USGS NWIS database; see metadata for details
A280 (AU/cm) DS | Absorbance at 280 nm, filtered, absorbance units per centimeter
A280 Rmk DS | Absorbance at 280 nm remark code reported to USGS NWIS database; see metadata for details
A370 (AU/cm) DS | Absorbance at 370 nm, filtered, absorbance units per centimeter
A370 Rmk DS | Absorbance at 370 nm remark code reported to USGS NWIS database; see metadata for details
A412 (AU/cm) DS | Absorbance at 412 nm, filtered, absorbance units per centimeter
A412 Rmk DS | Absorbance at 412 nm remark code reported to USGS NWIS database; see metadata for details
A440 (AU/cm) DS | Absorbance at 440 nm, filtered, absorbance units per centimeter
A440 Rmk DS | Absorbance at 440 nm remark code reported to USGS NWIS database; see metadata for details
Sag 275-295 nm DS | Absorption spectral slope calculated for wavelengths 275-295 nm, unitless
Sag 275-295 nm Rmk DS | Absorption spectral slope calculated for wavelengths 275-295 nm remark code reported to USGS NWIS database; see metadata for details
Sag 290-350 nm DS | Absorption spectral slope calculated for wavelengths 290-350 nm, unitless
Sag 290-350 nm Rmk DS | Absorption spectral slope calculated for wavelengths 290-350 nm remark code reported to USGS NWIS database; see metadata for details
Sag 350-400 nm DS | Absorption spectral slope calculated for wavelengths 350-400 nm, unitless
Sag 350-400 nm Rmk DS | Absorption spectral slope calculated for wavelengths 350-400 nm remark code reported to USGS NWIS database; see metadata for details
Sag 412-676 nm DS | Absorption spectral slope calculated for wavelengths 412-676 nm, unitless
Sag 412-676 nm Rmk DS | Absorption spectral slope calculated for wavelengths 412-676 nm remark code reported to USGS NWIS database; see metadata for details
Peak A (RU) DS | Fluorescence at excitation 260 nm / emission at 450 nm, filtered, Raman units
Peak A Rmk DS | Fluorescence at excitation 260 nm / emission at 450 nm remark code reported to USGS NWIS database; see metadata for details
Peak B (RU) DS | Fluorescence at excitation 275 nm / emission at 304 nm, filtered, Raman units
Peak B Rmk DS | Fluorescence at excitation 275 nm / emission at 304 nm remark code reported to USGS NWIS database; see metadata for details
Peak C (RU) DS | Fluorescence at excitation 340 nm / emission at 440 nm, filtered, Raman units
Peak C Rmk DS | Fluorescence at excitation 340 nm / emission at 440 nm remark code reported to USGS NWIS database; see metadata for details
Peak D (RU) DS | Fluorescence at excitation 390 nm / emission at 510 nm, filtered, Raman units
Peak D Rmk DS | Fluorescence at excitation 390 nm / emission at 510 nm remark code reported to USGS NWIS database; see metadata for details
Peak M (RU) DS | Fluorescence at excitation 300 nm / emission at 390 nm, filtered, Raman units
Peak M Rmk DS | Fluorescence at excitation 300 nm / emission at 390 nm remark code reported to USGS NWIS database; see metadata for details
Peak N (RU) DS | Fluorescence at excitation 280 nm / emission at 370 nm, filtered, Raman units
Peak N Rmk DS | Fluorescence at excitation 280 nm / emission at 370 nm remark code reported to USGS NWIS database; see metadata for details
Peak T (RU) DS | Fluorescence at excitation 275 nm / emission at 340 nm, filtered, Raman units
Peak T Rmk DS | Fluorescence at excitation 275 nm / emission at 340 nm remark code reported to USGS NWIS database; see metadata for details
FI DS | Fluorescence Index, ratio of emission intensities at 470 nm to 520 nm at an excitation wavelength of 370 nm
FI Rmk DS | Fluorescence Index remark code reported to USGS NWIS database; see metadata for details
HIX DS | Humification Index, calculated by dividing the fluorescence intensity in the 435-480 nm region by the total intensities in the 300-345 and 435-480 nm regions, unitless
HIX Rmk DS | Humification Index remark code reported to USGS NWIS database; see metadata for details
Picophytoplankton PC-Rich Sphere Tally DS | Picophytoplankton counts, phycocyanin-rich, sphere, tally, number of cells counted
Picophytoplankton PC-Rich Sphere Density (cells/mL) DS | Picophytoplankton counts, phycocyanin-rich, sphere, cells per milliliter
Picophytoplankton PC-Rich Sphere Total Biovolume (um3/mL) DS | Picophytoplankton biovolume, phycocyanin-rich, sphere, cubic micrometers per milliliter | Biovolume = 4/3 * pi * radius^3
Picophytoplankton PC-Rich Tally DS | Picophytoplankton counts, phycocyanin-rich tally, number of cells counted
Picophytoplankton PC-Rich Density (cells/mL) DS | Picophytoplankton counts, phycocyanin-rich, cells per milliliter
Picophytoplankton PC-Rich Total Biovolume (um3/mL) DS | Picophytoplankton biovolume, sum of phycocyanin-rich, cubic micrometers per milliliter
Picophytoplankton PE-Rich Sphere Tally DS | Picophytoplankton counts, phycoerythrin-rich, sphere, tally, number of cells counted
Picophytoplankton PE-Rich Sphere Density (cells/mL) DS | Picophytoplankton counts, phycoerythrin-rich, sphere, cells per milliliter
Picophytoplankton PE-Rich Sphere Total Biovolume (um3/mL) DS | Picophytoplankton biovolume, phycoerythrin-rich, sphere, cubic micrometers per milliliter | Biovolume = 4/3 * pi * radius^3
Picophytoplankton PE-Rich Tally DS | Picophytoplankton counts, phycoerythrin-rich tally, number of cells counted
Picophytoplankton PE-Rich Density (cells/mL) DS | Picophytoplankton counts, phycoerythrin-rich, cells per milliliter
Picophytoplankton PE-Rich Total Biovolume (um3/mL) DS | Picophytoplankton biovolume, sum of phycoerythrin-rich, cubic micrometers per milliliter
Picophytoplankton Total Tally DS | Picophytoplankton counts, sum of phycoerythrin-rich and phycocyanin-rich tally, number of cells counted
Picophytoplankton Total Density (cells/mL) DS | Picophytoplankton counts, sum of phycoerythrin-rich and phycocyanin-rich, cells per milliliter
Picophytoplankton Total Biovolume (um3/mL) DS | Picophytoplankton biovolume, sum of phycoerythrin-rich and phycocyanin-rich, cubic micrometers per milliliter
Picophytoplankton lab comment | Comment provided by picophytoplankton analytical lab

## Dataset_Attributes_PE
Parameter | Description
Timestamp (PST) DS | Date and time (MM/DD/YYYY hh:mm), pacific standard time
Station Abbrev. DS | Informal field identifier associated with numeric station code
Station ID DS | Numeric USGS station code
NWIS Station Latitude (Decimal Degrees, NAD83) | NAD 1983, decimal degrees
NWIS Station Longitude (Decimal Degrees, NAD83) | NAD 1983, decimal degrees
Region | Name of the approximate region for polygon extents
Location | Name of the approximate location for polygon extents
POLY ID 01 | 0.1 mile polygon extent identifier, see metadata for details
POLY ID 1 | 1 mile polygon extent identifier, see metadata for details
POLY ID 5 | 5 miles polygon extent identifier, see metadata for details
Division DS | Phytoplankton taxonomy division name
Genus DS | Phytoplankton taxonomy genus name
Species DS | Phytoplankton taxonomy species name
Tally DS | The numbers of cells counted in a sample
Density (cells/mL) DS | Number of phytoplankton cells per milliliter of water
Biovolume (um3/mL) DS | Cell biovolume calculated as the product of cell volume and density, cubic micrometers per milliliter of water
Notes DS | Notes produced by phytoplankton taxonomist

## Dataset_Attributes_MapsShp
Parameter | Description | Reference
FID | [ESRI software] In ArcGIS, a system-managed value that uniquely identifies a record or feature | GIS Dictionary. (n.d.). https://support.esri.com/en-us/gis-dictionary
Shape | The characteristic appearance or visible form of a geographic object as represented on a map
ContourMin | The minimum value of the contour interval between contour lines
ContourMax | The maximum value of the contour interval between contour lines
Shape_Leng | The total length of the polygon's perimeter, Carterian degrees
Shape_Area | The total area of the polygon's perimeter, Carterian degrees
MapName | Name of the map, project name, survey period, parameter

## Remark_Codes
Remark Code | Remark Name
< | Less than
A | Average
E | Estimated
NA | No remark code applied to data

## Data_Corrections_and_Offsets
Correction Type | Correction Equation | Corrected Attribute | Reference
fDOM_raw with blank substraction and convert to QSE | fDOM (QSE ppb) = scale factor * (fDOM_raw-blank) | fDOM (QSU) (EXO) fDOM (QSU) (WS) | WETStar user manual
fDOM Temperature correction: T_corr (deg_C) | fDOM_T_corr = fDOM_raw/(1 - 0.01 * (T_measured - 25)) | fDOM (QSU) (EXO) fDOM (QSU) (WS) | Watras, C.J., Hanson, P.C., Stacy, T.L., Morrison, K.M., Mather, J., Hu, Y.H. and Milewski, P., 2011. A temperature compensation method for CDOM fluorescence sensors in freshwater. Limnology and Oceanography: Methods, 9(7), pp.296-301.; Downing, B.D., Pellerin, B.A., Bergamaschi, B.A., Saraceno, J.F. and Kraus, T.E., 2012. Seeing the light: The effects of particles, dissolved materials, and temperature on in situ measurements of DOM fluorescence in rivers and streams. Limnology and Oceanography: Methods, 10(10), pp.767-775.
fDOM Turbidity correction | fDOM_Turb_corr = fDOM_T_corr/EXP(-0.002 * FNU) | fDOM (QSU) (WS) | WETStar user manual
fDOM Turbidity correction | fDOM_Turb_corr = fDOM_T_corr/EXP(-0.003 * FNU) | fDOM (QSU) (EXO) | YSI, personal communication; Saraceno, J.F., Shanley, J.B., Downing, B.D. and Pellerin, B.A., 2017. Clearing the waters: Evaluating the need for site-specific field fluorescence corrections based on turbidity measurements. Limnology and Oceanography: Methods, 15(4), pp.408-416.; Downing, B.D., Pellerin, B.A., Bergamaschi, B.A., Saraceno, J.F. and Kraus, T.E., 2012. Seeing the light: The effects of particles, dissolved materials, and temperature on in situ measurements of DOM fluorescence in rivers and streams. Limnology and Oceanography: Methods, 10(10), pp.767-775.
Inner Filter Effects (IFE) correction | fDOM_IFE_corr = fDOM T@Turb_corr/EXP((-0.308 * (0.0000003 * fDOM_Turb_corr^2 - 0.0002 * fDOM_Turb_corr + 0.1451)) | fDOM (QSU) (EXO) fDOM (QSU) (WS) | Downing, B.D., Pellerin, B.A., Bergamaschi, B.A., Saraceno, J.F. and Kraus, T.E., 2012. Seeing the light: The effects of particles, dissolved materials, and temperature on in situ measurements of DOM fluorescence in rivers and streams. Limnology and Oceanography: Methods, 10(10), pp.767-775.
fCHL Temperature correction | fCHL_T_corr = fCHL_raw/(1 - 0.01 * (T_measured - 25)) | fCHL (ug/L) (EXO) fCHL (ug/L) (WS) | Watras, C.J., Morrison, K.A., Rubsam, J.L., Hanson, P.C., Watras, A.J., LaLiberte, G.D. and Milewski, P., 2017. A temperature compensation method for chlorophyll and phycocyanin fluorescence sensors in freshwater. Limnology and Oceanography: Methods, 15(7), pp.642-652.
Beam Transmissometer (WETLabs C-Star serial #1158 with 10 cm pathlength) | Tr = (Vsig - Vdark)/(Vref - Vdark), c = -1/pathlength * ln (Tr) | C (1/m) (CStar) | User manual for BAM, C-Star, and C-Rover Transmissometers
C (1/m) (CStar) | Turb_corr = (1.115 * Cstar) - 0.747 (2020) | Turb (FNU) (EXO) HR | Snyder L., Potter J.D., McDowell W.H., 2018. An evaluation of nitrate, fDOM, and turbidity sensors in New Hampshire streams. Water Resources Research. 54(3), pp. 2466-79.
Model Type | Model Equation | Estimated Attribute | Reference
NO3 (uM) (SUNA) regression | y = 1.00x - 4.56, R2 = 0.96 (May 2022) | NO3 (uM) (SUNA) | Bergamaschi, B.A., Kraus, T.E., Downing, B.D., Stumpner, E.B., O'Donnell, K., Hansen, J.A., Soto Perez, J., Hansen, A.M., Gelber, A.D., in press. Assessing spatial variability of nutrients and related water quality constituents in the California Sacramento-San Joaquin Delta at the landscape scale: 2018 High resolution mapping surveys. U.S. Geological Survey Scientific Investigations Report.
y = 0.98x - 4.99, R2 = 0.97 (July 2022)
y = 0.71x + 1.33, R2 = 0.77 (October 2022)
fDOM (QSU) (EXO) | y = 0.074x + 0.64 (May 2022) | estDOC (mg-C/L) | Snyder L., Potter J.D., McDowell W.H., 2018. An evaluation of nitrate, fDOM, and turbidity sensors in New Hampshire streams. Water Resources Research. 54(3), pp. 2466-79.
y = 0.057x + 0.83 (July 2022)
y = 0.061x + 0.65 (October 2022)
fDOM (QSU) (EXO) | y = 0.40x + 3.60 (May 2022) | estDON (uM) | Snyder L., Potter J.D., McDowell W.H., 2018. An evaluation of nitrate, fDOM, and turbidity sensors in New Hampshire streams. Water Resources Research. 54(3), pp. 2466-79.
y = 0.47x + 0.33 (July 2022)
y = 0.340x + 1.92 (October 2022)